Request for Proposal

Photovoltaic Energy Design and Installation Services

Hudson River Maritime Museum

50 Rondout Landing

Kingston NY 12401

Issue Date: April 8, 2015

Proposals Due: May 8, 2015

Contact: Heidi Kitlas, Development Director

grants@hrmm.org: 845-338-0071, x 17

- Purpose

The purpose of this RFP is to solicit proposals from qualified firms with expertise in design and installation of fully operational photovoltaic energy system to generate the maximum amount of power for the size of the roof installation for a non-profit institution. The work site is the Hudson River Maritime Museum on the Rondout Creek in Kingston.  The outcome of services will be a solar array on the roof of the East Gallery of the Museum, anchored atop a new roof to be installed in a manner complimentary to the solar installation. This project is a high profile show piece for the Rondout Waterfront. It is expected to be the next step in a series of site improvements that include the recent construction of the Kingston Home Port and Education Center; a boat shed which serves as winter port for the heritage vessel Hudson River Sloop Clearwater, and the founding of a Wooden Boat Building School.

. This project is partially funded by an Environmental Protection Fund grant administered by NYS Office of Parks, Recreation and Historic Preservation (NYSOPRHP) and will qualify for support from the New York State Energy Research and Development Authority (NYSERDA). The successful respondent should expect to report information as required by these agencies.

Funding for this project comes in part through an Environmental Protection Fund grant administered by the New York State Office of Parks, Recreation and Historic Preservation (OPRHP).  Under Article 15A, Executive Law, the State of New York is committed to providing Minority and Women Owned Business (MWBE) equal opportunity to participate in government contracts.  The following goals have been set for this project: 9% of the grant value for MBE’s and 6% of the grant value for WBE’s.  The successful proposer may be required to furnish an EEO statement and reports showing the participation of various business enterprises of subcontractors and suppliers on the contract.

This RFP provides information necessary to submit a comprehensive proposal. It is expected that the proposer shall be fully knowledgeable and experienced in the type of work to be performed and shall understand and comply with all applicable laws and regulations.

- Background

The Hudson River Maritime Museum is located at 50 Rondout Landing – Kingston, NY. The building was constructed in the first half of the 20th century and served as a lumber warehouse until the museum acquired it in 1982. The East Gallery is currently unheated and not insulated and measures approximately 80’x 50’ with 17.5’ ceilings.  It houses the bulk of the museum’s large exhibit items.  Some exhibit space and a workshop area have been divided off. The West Building, which houses the museum’s offices, gift shop, and smaller exhibits is heated and is has recently been upgraded with energy efficient windows and doors. The entire museum was also recently retro-fit with energy efficient lighting. Current plans include heating the East Gallery as well as upgrading the East Gallery windows.  The photovoltaic array to be installed will serve the current electric needs of the museum and the newly constructed Kingston Home Port and Education Center (KHPEC).

There are currently three power lines/meters for the museum property, which include separate services for the main museum building, the KHPEC, and the bulkhead electrical service for docking boats. It is expected that the power supply design will take into consideration the future plans for the museum to develop the most cost effective interconnection with the utility company, as well as considering the best solution from the museum’s point of view. One year of electrical bills are available for review by prospective applicants.

- Project Scope

The museum seeks a contractor to provide turnkey design, engineering, materials, delivery, installation, and commissioning of a cost-effective and energy efficient solar photovoltaic (PV) energy system that will maximize the solar and renewable energy resource potential of the rooftop of the East Gallery, taking greatest benefit of NYSERDA support.  It is expected that all other support, rebate, reward and other energy efficiency programs will be researched by the respondent to maximize any potential cost savings for the project.

The contractor shall include in the proposal all permits and approvals from governing agencies, all labor, taxes, services and equipment necessary to produce a fully functional and operational PV electrical power system for use by the museum.

The contractor will cooperate with the roofing contractor and provide information necessary for the re-roofing that will provide for the most cost-effective installation method for the PV panels.

The contractor shall provide design documents, including a set of plans prepared and stamped by a licensed Professional Engineer (P.E.), adequate to communicate the following information:

- System Description

- Equipment details and description

- Layout of installation site

- Layout of equipment

- Specifications for equipment procurement and facility installation

- Performance of system components and subsystems and project

- Integration of the PV system with other museum power sources

- Electrical grid and interconnection requirements

- Controls, monitors and instrumentation

- Performance monitoring

The contractor will evaluate and determine a suitable location that will house the PV inverter equipment and its related components/environmental control equipment/miscellaneous equipment that will meet the following criteria:

- Ease of maintenance and monitoring

- Efficient operation

- Secured location and hardware

- Compatibility to other museum facility functions

Included within the scope of this project the contractor shall secure and obtain from governing agencies, the utility company or others all required rights, permits, approvals, and utility interconnection agreements for installation and operation of the project.

Required services include the following:

- Provide recommended testing protocols

- Starting up the PV system until it achieves the performance requirements of the agreement

- Operation and maintenance manual and as-built drawings, covering:

  - Components options and accessories supplied

  - Maintenance, troubleshooting and safety precautions

  - Maintenance schedules

  - Orientation and training of museum staff

Contractor will work with the museum to provide a real-time lobby display for the public to understand the PV system. Examples of some of the information to be monitored and provided could include:

- System performance

- System availability

- Average and accumulated output

- # of kilowatt hours generated

- Watts per square foot

- Solar Index

- Daily and yearly energy totals

- Carbon dioxide savings

- Weather conditions

The museum will work with the selected contractor to provide access to the site for construction and installation, generally the site will be available Monday- Friday from 7:30 AM -4:30 PM.

- Minimum Warranties and Guarantees

Proposer shall fully define in proposal the offered warranty. Minimum warranty:

- 5 year complete system warranty against defective design, materials, workings and latent defects

- 5 year complete and operational power capacity warranty

- 20 year PV panel warranty

- 20 year PV panel operation and degradation warranty

- 10 year roof and building penetration warranty

- Proposal Submittal Requirements

The Proposer will be bound to all proposed terms and conditions of its proposal as well as the negotiated agreement for a period of 120 days from the date of proposal submission.

- Binding transmittal letter

Letter must be signed by a party authorized to obligate the contractor to perform commitments contained in the proposal. The letter must identify the Prime Contractor and contact person for future communications. The letter should state the Contractors ability to perform the work and overall qualifications, and agree to comply with all applicable laws and ordinances if awarded the contract. The letter must state the 120-day validity of the prices and work proposed.

- Qualifications

Each proposal must include the following:

- Name, address, phone number, email address and website “url” of Prime Contractor and other team members, including subcontractors, as well as names of principals for each company

- Roles and responsibilities of, and relationships between, team members

- Description of company, including background

- Statement of team members’ background and qualifications demonstrating capability to perform assigned responsibilities, including technical resources and access to equipment

- Identify key project manager who will interface with museum staff/volunteers

- Resumes of key employees

- History of projects where team members have worked together

- Proof the Contractor is NYSERDA approved, and is eligible to participate in the NY Sun Incentive Program

- Proof the Contractor has 1 Million Dollar liability insurance

For the Prime Contractor provide information on:

- Total capacity of PV systems placed in commercial operation

- Brief description of each system installation to date, including equipment

- Indicate whether Prime Contractor or its officers or principals have been party to any claim, dispute or lawsuit involving the performance of any labor performed or equipment installed, including environmental litigation, and provide a summary of the issues and status of actions.

References:  Provide a minimum of three (3) references for turnkey PV installations, including project capacity (kW); cost ($); operations and maintenance costs, owning and operating costs (if available); year installed; customer name and address; contact name, title, phone number and email address.

Capacity: Provide prime contractors audited financial statements for previous two years.

- System Description

Provide a description of the technology you propose to install, including

- Power capacity (kW) measured at inverter input

- Power capacity (kW) measured at inverter output

- Estimated capacity and annual output

- PV panel degradation rate over 20 year period

- PV array materials

- Inverters

- Structural materials

- System components

- Configuration

- Structural requirements, including requirements for roofers, anchors, etc

- Operation and maintenance requirements, including personnel hours

- Projected degradation rates for field installations of this type

- Typical useful life of significant components, including PV array and inverters

- Benefits specific to this type of system

- Product enhancements, if any

- Other relevant information

Provide a description of monitoring equipment and display that proposer would typically install for this type of project. Discuss proposed enhancements for display purposes.

Provide a detailed description of your approach to conducting your work, including a description of the roles of key employees on this project.

- Schedule

Provide an implementation schedule noting milestones in project completion from date of Museum’s notice to proceed. Include:

- Complete design

- Permits

- Interconnection

- Material on site

- Installation commences

- Installation complete

- Start up

- Testing

- Manuals and other documentation delivered

- Costs

Contractor shall provide firm cost proposal based on proposed installation. Acceptance by the Museum of the proposal obligates the contractor to provide services at a cost not to exceed the submitted cost proposal.

If the proposal assumes funding from other sources, i.e. NYSERDA, tax credits, etc, that must be clearly stated in the cost proposal. At a minimum each cost proposal shall clearly state the following cost breakdown; Total System Cost, Less rebates and incentives (NY Sun Incentives), Net total to be paid to the contractor, and the amount of in-kind donation to the museum, (if applicable).

- Selection Criteria

- Design (25 points)-The proposal addresses the existing needs of the museum and the multiple utility feeds and proposes a cost effective solution

- Selected Technology (25 points)-the components selected for use in the proposal are state of the art and are reliable, with appropriate warranties;

- Contractor(s) Experience and Established Record (30 points)- the prime contractor and any sub-contractors have appropriate knowledge, skill and experience with this type of installation. The contractors have a history of satisfied customers and are not subject to customer complaints and/or litigation for business failures.

- Price and Economic Value (20 points)- Price alone will not be the overriding factoring selecting the contractor. Maximization of incentive programs and cost benefit will also be considered in evaluating price.

- Bonus Points (Up to 10 points)-Design\n and installation costs that are donated to the museum by the contractor to the museum to reduce the overall cost will be eligible for up to 10 bonus points.

Full and complete proposal should be submitted by the deadline date, May 8,2015, to:

Heidi Kitlas

Development Director

Hudson River Maritime Museum

50 Rondout Landing

Kingston, NY 12401

grants@hrmm.org

845-338-0071, x17

A full and complete proposal shall include four (4) paper copies and one electronic copy of all components and attachments of the RFP.

- Proposal Evaluation and Award Schedule

RFP advertised and published					April 8,2015

Notification mailed to WMBE					April 8,2015

Meetings/site visits scheduled with potential proposers	April 8-22, 2015

Deadline for written questions/requests for clarification	April 15, 2015

Proposals due							May 8, 2015

Interviews (as necessary) 					May 13-20, 2015

Final selection							May 27, 2015

Contract date							on or about June 10,2015

Project start date (depending on roofing/weather)		set at contract

Contracts are awarded at the sole discretion of the museum.

Selection of any proposal shall not imply acceptance by the museum of all the terms of the proposal, which is subject to further negotiation before being legally bound as a contract.

The issuance of this RFP does not constitute an agreement by the museum or a promise that any contract will be entered into. The museum reserves the right to:

- Waive or correct any defect or informality in any response

- Reject any or all proposals

- Reissue an RFP

- Prior to proposal submission deadline, modify all or any portion of the RFP

- Procure materials, services or equipment specified in this RFP by any other means

- Determine that no project will be pursued

- Attachments

To be submitted with all proposals:

Appendix A and A1

Prime Contractor EEO Statement

Prime Contractor MWBE Utilization Plan